## Slide 1: Catching Fire
Reducing the Risk of Facility Fires
Kevin Roche
ecomaine

## Slide 2: ecomaine
Our Mission
ecomaine provides comprehensive, long-term solid waste solutions in a safe, environmentally responsible, economically sound manner, and is a leader in raising public awareness of sustainable waste management strategies.
Notes: Emphasis here on safety. Safety comes first in our mission statement.

## Slide 3
71 Communities
~400,000 people
Facilities:
Single-Sort Recycling
Food Waste Recovery
Waste-To-Energy Plant
Landfill/Ashfill
Programs:
Reaching 40,000 residents a year through Tours & School Presentations
ecomaine’s Facilities & Programs

## Slide 4: An Industry “Under Fire”

## Slide 5
LI 18650 battery – 18 mm in diameter and 65 mm tall

## Slide 6: ecomaine isn’t Immune…

## Slide 8
Change was Needed

## Slide 9: Detect & Respond Early
Adding thermal camera technology in all high risk areas to improve coverage for early warning detection.
Notification – Set temperature thresholds that will alarm staff.
Staff can view and respond with inspections, water cannons, and/or trigger deluge systems.
Most importantly, staff can respond remotely (and safely).

## Slide 10
Thermal Cameras will monitor for “Hot Spots”

## Slide 12
Fire Suppression Cannon in Action

## Slide 13
Water Cannon - Shower mode

## Slide 15
Controls Allows for Quicker & Safer Response
At the tipping floor…
Outside the facility…
… or remotely from our Waste-to-Energy Plant’s Control Room
At the water cannon…

## Slide 16
Responding by
Remote Control

## Slide 17
Growing Pains

## Slide 19
Protection for Balers - Manual Water Deluge and Automated Dry Chemical

## Slide 20
Water deluge over paper star screens

## Slide 21
Keeping an Eye on our Safety and Resources

## Slide 22: Cost
  Thermal Cameras (8),
Alarm, Detection & Installation: $148k
Water Cannon & Installation: $96k
Total: $244k

## Slide 23
Thank you!
Kevin Roche
CEO
ecomaine
Catching Fire – Reduce the Risk